## ep5
section	name	from	description
import	data_ep5_import		讀入原始資料，隨不同客戶、格式而異，公版要有sample, factor1, factor2, replicate, y等欄位
tidy	data_ep5_tidy_combine	data_ep5_import	製作總表，每列一筆data，並加上y_lj (轉換為Levey-Jennings Scale)
tidy	data_ep5_tidy_split	data_ep5_tidy_combine	依照sample欄位分組，形成分析單位，並加上y_lj (轉換為Levey-Jennings Scale)
analysis	data_ep5_analysis	data_ep5_tidy_split	每個分析單位(sample)分別進行Nested ANOVA，會隨著factor數量(2-5)而調整
report_fig	data_ep5_report_fig_raw	data_ep5_tidy_combine	原始y作圖, x=factor1, color=factor2
report_fig	data_ep5_report_fig_lj	data_ep5_tidy_combine	y_lj作圖, x=factor1, color=factor2
report_tab	data_ep5_report_tab_split	data_ep5_analysis	將每個sample的ANOVA結果表格進行整理(前置樣品與欄位名稱，並把total拉到每組最下面)
	data_ep5_report_tab	data_ep5_report_tab_split	合併表格

## ep7_replicate_calculator
section	name	from	description
setting	setting_ep7		用來計算replicate數值的參數，包含alpha, beta, repeatability, allowable_interference
analysis	data_analysis_2side	setting_ep7	計算在不假設candidate干擾物方向(不知為正干擾或負干擾)時所需的replicate
analysis	data_analysis_1side	setting_ep7	計算在candidate干擾物方向已知時所需的replicate
report_critical	data_report_critical_2side	data_analysis_2side	replicate數值無條件進位為整數，且若計算值低於5則以5取代
report_critical	data_report_critical_1side	data_analysis_1side	replicate數值無條件進位為整數，且若計算值低於5則以5取代

## ep7_paired_difference
section	name	from	description
setting	setting_ep7
import	data_ep7_import		與dose response統一格式
tidy	data_ep7_tidy_combine	data_ep7_import	加上condition欄位，綜合interferent, interferent_level, analyte_level
tidy	data_ep7_tidy_split	data_ep7_tidy_combine	依照condition欄位分組
analysis	data_ep7_analysis_diff	data_ep7_tidy_combine	依照依照CLSI EP7Ed3E Table 3計算表中各項數值
report_tab	data_ep7_report_tab_diff	data_ep7_analysis_diff	調整欄位名稱適合於報表，小數取到第三位
report_tab	data_ep7_report_tab_diff_dt	data_ep7_report_tab_diff	轉為datatable

## ep9
section	name	from	description
import	data_ep9_import		每筆資料均有受測器材以及參考方法的結果
tidy	data_ep9_tidy	data_ep9_import	去除NA值、依照y-ref升冪排序、計算y_test VS y_ref差值以及差值百分比
analysis	data_ep9_analysis_rosner	data_ep9_tidy	[["diff"]]依照diff尋找outlier; [["pctdiff"]]依照pctdiff尋找outlier
report_crit	data_ep9_report_crit_outlier	data_ep9_analysis_rosner	列出outlier，若無則回傳NA
report_tab	data_ep9_report_tab_rosner	data_ep9_analysis_rosner	將數值欄位取到小數第三位
report_tab_dt	data_ep9_report_tab_rosner_dt	data_ep9_report_tab_rosner	轉為datatable
report_fig	data_ep9_report_fig_raw	data_ep9_tidy	原始資料圖
report_fig	data_ep9_report_fig_diff	data_ep9_tidy	Difference Plot
report_fig	data_ep9_report_fig_pctdiff	data_ep9_tidy	%Difference Plot

## ep25
section	name	from	description
import	data_ep25_import		讀入原始資料，隨不同客戶、格式而異
tidy	data_ep25_tidy_combine	data_ep25_import	製作總表，每列一筆data，欄位: sample, day, y
tidy	data_ep25_tidy_split	data_ep25_tidy_combine	依照sample欄位分組，形成分析單位
analysis	data_ep25_analysis_rgs	data_ep25_tidy_split	對每個單元做1sr regression
analysis	data_ep25_analysis_sum	data_ep25_analysis_rgs	用summary()的到regression相關數值
analysis	data_ep25_analysis_sum_coef	data_ep25_analysis_sum	方便:從summary()結果拿出coefficients
analysis	data_ep25_analysis_sum_p	data_ep25_analysis_sum	方便:從summary()結果拿出p-value
analysis	data_ep25_analysis_sig_split	data_ep25_tidy_split, data_ep25_analysis_sum_p	產生僅包含regression顯著的資料集
analysis	data_ep25_analysis_sig_combine	data_ep25_analysis_sig_split	將regression顯著的資料集合併
analysis	data_ep25_analysis_sum_slope	data_ep25_analysis_sum	方便:從summary()結果拿出slope
analysis	data_ep25_analysis_predict	data_ep25_tidy_split, data_ep25_analysis_rgs	用regression model去逐日推算每天的值以及95% CI
analysis	data_ep25_analysis_maxday	data_ep25_analysis_predict, setting_ep25$allowable_drift, data_ep25_analysis_sum_slope	計算每個sample的最大允許天數
report_fig	data_ep25_report_fig_qc	data_ep25_tidy_combine	用boxplot來找出可能的outlier，配合上下限的虛線來評估outlier是否還在可接受範圍內
report_fig	data_ep25_report_fig_sig	data_ep25_analysis_sig_combine	對於regression顯著的資料作圖
report_tab	data_ep25_report_tab_raw	data_ep25_tidy_split	取出所有的原始y值，合併為單一data.frame並轉置
report_tab	data_ep25_report_tab_regression_split	data_ep25_analysis_sum_coef	產生regression result表格1
	data_ep25_report_tab_regression_combine	data_ep25_report_tab_regression_split	產生regression result表格2